## Slide 1: Practical power management for enterprise storage
Dushyanth Narayanan
Austin Donnelly
Ant Rowstron
Microsoft Research, Cambridge

## Slide 2: Energy in data centres
Substantial portion of TCO
  Power bill, peak power ratings
  Cooling
  Carbon footprint
It’s (becoming) a big deal for Microsoft
  Our own data centres
  Enterprise customers

## Slide 3: Saving energy in storage
Storage is significant energy consumer
Especially in an idle system
  Idle Seagate Cheetah 15K.4: 12 W
    Mostly to keep spindles spinning
  Idle Intel Xeon dual-core: 24 W
    Can be improved

## Slide 4: Challenge
Most of disk’s energy just to keep spinning
  17 W peak, 12 W idle, 2.6 W standby
Other technologies not quite there yet
  Flash too expensive
  Low-power disks have lower performance
    And still have spinning spindles
Need to spin down disks when idle

## Slide 5: Small/medium enterprise DC
10s to100s of disks
  Not MSN search
Heterogenous servers
  File system, DBMS, etc
RAID volumes
High-end disks
5
FS1
FS2
DBMS
Vol 0
Vol 1
Vol 0
Vol 1
Vol 2
Vol 0
Vol 1

## Slide 6: Intuition
Small/medium enterprise workloads have
  Diurnal, weekly patterns
  Idle periods
  Write-only periods
    Reads absorbed by main memory caches
We should exploit these
  Convert write-only to idle
  Spin down when idle

## Slide 7: Design principles
Incremental deployment
  Don’t rearchitect the storage
    Keep existing servers, volumes, etc.
  Work with current, disk-based storage
    Flash more expensive/GB for at least 5-10 years
    If system has some flash, then use it
Assume fast network
  1 Gbps+

## Slide 8: Write off-loading
Spin down idle volumes
Offload writes when spun down
  To idle / lightly loaded volumes
  Reclaim data lazily on spin up
  Maintain consistency, failure resilience
Spin up on read miss
  Large penalty, but should be rare

## Slide 9: Roadmap
Motivation
Traces
Write off-loading
Evaluation

## Slide 10: How much idle time is there?
Is there enough to justify spinning down?
  Previous work claims not
    Based on TPC benchmarks, cello traces
  What about real enterprise workloads?
    Traced servers in our DC for one week

## Slide 11: MSRC data center traces
Traced 13 core servers for 1 week
    File servers, DBMS, web server, web cache, …
    36 volumes, 179 disks
    Per-volume, per-request tracing
    Block-level, below buffer cache
Typical of small/medium enterprise DC
  Serves one building, ~100 users
  Captures daily/weekly usage patterns

## Slide 12: Idle and write-only periods
Chart: % of time volume active
| 9.9206547619047746E-3 | 4.9768511904762093E-2 | 6.3822619047619211E-2 | 0.12979523809523849 | 0.69030952380952504 | 1.1805535714285758 | 1.1909702380952381 | 1.2769523809523811 | 2.0213273809523868 | 3.1030119047619089 | 3.5451369047619052 | 3.6071428571428612 | 3.9045952380952391 | 4.5171964285714266 | 6.5055952380952249 | 7.2982738095238124 | 8.4416071428571389 | 13.934166666666666 | 14.643511904761903 | 14.910535714285734 | 14.92 | 18.597380952380952 | 20.052083333333275 | 22.416011904761866 | 22.589107142857127 | 26.478333333333243 | 29.03422619047619 | 31.231964285714291 | 35.990238095238091 | 40.113095238095262 | 43.032559523809532 | 52.747202380952388 | 62.398809523809526 | 70.605357142856874 | 79.148214285714445 | 99.695238095238082
Read-only | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36
Read/write | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36
 | 18 | 18

## Slide 13: Roadmap
Motivation
Traces
Write off-loading
Preliminary results

## Slide 14: Write off-loading: managers
One manager per volume
  Intercepts all block-level requests
  Spins volume up/down
Off-loads writes when spun down
  Probes logger view to find least-loaded logger
Spins up on read miss
  Reclaims off-loaded data lazily

## Slide 15: Write off-loading: loggers
Reliable, write-optimized, short-term store
  Circular log structure
Uses a small amount of storage
  Unused space at end of volume, flash device
Stores data off-loaded by managers
  Includes version, manager ID, LBN range
  Until reclaimed by manager
    Not meant for long-term storage

## Slide 16: Off-load life cycle
Reclaim
v1
v2
Read
Write
Spin up
Spin down
Probe
Write
Invalidate

## Slide 17: Consistency and durability
Read/write consistency
  manager keeps in-memory map of off-loads
  always knows where latest version is
Durability
  Writes only acked after data hits the disk
Same guarantees as existing volumes
  Transparent to higher/lower layers

## Slide 18: Recovery: transient failures
Loggers can recover locally
  Scan the log
Managers recover from logger view
  Logger view is persisted locally
  Recovery: fetch metadata from all loggers
  On clean shutdown, persist metadata locally
    Manager recovers without network communication

## Slide 19: Recovery: disk failures
Data on original volume: same as before
  Typically RAID-1 / RAID-5
  Can recover from one failure
What about off-loaded data?
  Ensure logger redundancy >= manager
  k-way logging for additional redundancy

## Slide 20: Roadmap
Motivation
Traces
Write off-loading
Experimental results

## Slide 21: Energy savings
Chart: Energy (% of baseline)
| Worst day | Best day
Vanilla | 72 | 64
Machine-level off-load | 64 | 51
Rack-level off-load | 55 | 40

## Slide 22: Energy by volume (worst day)
Chart: Energy consumed (% of baseline)
| 21.734567901234591 | 21.734567901234591 | 21.734664351851851 | 21.887827932098791 | 21.913580246913579 | 22.691840277777779 | 23.899787808641921 | 24.941165123456866 | 25.157214506172828 | 25.372492283950589 | 27.545138888888889 | 27.933256172839506 | 28.138888888888935 | 29.278452932098766 | 31.090856481481495 | 38.437596450617072 | 40.506462191358025 | 42.640817901234442 | 47.116994598765395 | 47.682291666666458 | 47.703028549382715 | 49.687789351851855 | 63.313175154320987 | 64.071759259259252 | 69.963541666666671 | 78.293209876543216 | 85.535204475308916 | 86.71643518518519 | 89.705632716049024 | 91.619309413579984 | 93.836805555555458 | 98.434606481481495 | 99.627700617283594 | 100
Rack-level off-load | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34
Machine-level off-load | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34
Vanilla | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34

## Slide 23: Response time: 95th percentile
Chart: Response time (seconds)
| Best day Read | Worst day Read | Best day Write | Worst day Write
Baseline | 60.0145 | 32.4399 | 171.8293 | 532.4991
Vanilla | 64.6809 | 35.2172 | 201.8799 | 614.7801
Machine-level off-load | 69.4424 | 37.2642 | 168.9786 | 510.2213
Rack-level off-load | 78.9483 | 40.2473 | 154.6965 | 472.7192

## Slide 24: Response time: mean
Chart: Response time (seconds)
| Best day Read | Worst day Read | Best day Write | Worst day Write
Baseline | 17 | 10 | 47 | 106
Vanilla | 60 | 45 | 138 | 203
Machine-level off-load | 118 | 80 | 45 | 104
Rack-level off-load | 136 | 94 | 39 | 98

## Slide 25: Conclusion
Need to save energy in DC storage
Enterprise workloads have idle periods
  Analysis of 1-week, 36-volume trace
Spinning disks down is worthwhile
  Large but rare delay on spin up
Write off-loading: write-only  idle
  Increases energy savings of spin-down

## Slide 26: Questions?

## Slide 27: Testbed
4 rack-mounted servers
  1 Gbps network
  Seagate Cheetah 15k RPM disks
Single process per testbed server
  Trace replay app + managers + loggers
  In-process communication on each server
  UDP+TCP between servers

## Slide 28: Workload
Open loop trace replay
Traced volumes larger than testbed
  Divided traced servers into 3 “racks”
    Combined in post-processing
1 week too long for real-time replay
  Chose best and worst days for off-load
    Days with the most and least write-only time

## Slide 29: Configurations
Baseline
Vanilla spin down (no off-load)
Machine-level off-load
  Off-load to any logger within same machine
Rack-level off-load
  Off-load to any logger in the rack

## Slide 30: Storage configuration
1 manager + 1 logger per volume
  For off-load configurations
    Logger uses 4 GB partition at end of volume
Spin up/down emulated in s/w
  Our RAID h/w does not support spin-down
  Parameters from Seagate docs
    12 W spun up, 2.6 W spun down
    Spin up delay is 10—15s, energy penalty is 20 J
      Compared to keeping the spindle spinning always

## Slide 31: Related Work
PDC
  Periodic reconfiguration/data movement
  Big change to current architectures
Hibernator
  Save energy without spinning down
  Requires multi-speed disks
MAID
  Need massive scale

## Slide 32: Just buy fewer disks?
Fewer spindles  less energy, but
  Need spindles for peak performance
    A mostly-idle workload can still have high peaks
  Need disks for capacity
    High-performance disks have lower capacities
    Managers add disks incrementally to grow capacity
  Performance isolation
    Cannot simply consolidate all workloads

## Slide 33: Circular on-disk log
H
HEAD
TAIL
7
8
9
4
........
8
7
........
1
2
7-9
X
X
X
1
2
X
X
Reclaim
Write
Spin up

## Slide 34: Circular on-disk log
Nuller
Head
Tail
Reclaim
Header block
Null blocks
Active log
Stale versions
Invalidate

## Slide 35: Client state
35

## Slide 36: Server state
36
36

## Slide 37: Mean I/O rate
Chart: Requests / second
| 0 | 1 | 2 | 0 | 1 | 2 | 3 | 4 | 0 | 1 | 0 | 1 | 0 | 1 | 2 | 0 | 1 | 0 | 1 | 2 | 0 | 1 | 2 | 0 | 1 | 0 | 0 | 1 | 2 | 3 | 0 | 1 | 0 | 1 | 2 | 3 | usr | proj | prn | hm | rsrch | prxy | src1 | src2 | stg | ts | web | mds | wdev
Read | 1.4955 | 68.4958 | 14.179 | 0.87199 | 34.9583 | 42.3968 | 3.519 | 10.532 | 0.99616 | 13.9944 | 2.3442 | 0.96048 | 0.22094 | 6.9444e-05 | 0.22547 | 0.63413 | 182.5636 | 34.9084 | 72.0502 | 0.8004 | 0.2682 | 1.0643 | 0.58024 | 0.50998 | 2.3155 | 0.44798 | 1.0028 | 0.14395 | 8.4927 | 0.016617 | 0.23805 | 2.5149 | 0.37951 | 0 | 0.0003125 | 1.8188e-05
Write | 2.2047 | 6.3785 | 3.298 | 6.113 | 4.1285 | 5.9935 | 0.19236 | 0.15851 | 8.2398 | 4.5794 | 4.2585 | 0.046982 | 2.1495 | 0.022715 | 0.11776 | 20.0652 | 96.2707 | 26.956 | 3.5884 | 2.354 | 1.9956 | 0.02226 | 1.3323 | 2.848 | 1.3169 | 2.1393 | 2.3536 | 0.12208 | 0.064423 | 0.035268 | 1.7643 | 0.19292 | 1.5108 | 0.0017444 | 0.2994 | 0.0011095

## Slide 38: Peak I/O rate
Chart: Requests / second
| 0 | 1 | 2 | 0 | 1 | 2 | 3 | 4 | 0 | 1 | 0 | 1 | 0 | 1 | 2 | 0 | 1 | 0 | 1 | 2 | 0 | 1 | 2 | 0 | 1 | 0 | 0 | 1 | 2 | 3 | 0 | 1 | 0 | 1 | 2 | 3 | usr | proj | prn | hm | rsrch | prxy | src1 | src2 | stg | ts | web | mds | wdev
Read | 260.0667 | 1025.5667 | 705.1833 | 296.9167 | 1146.65 | 1718.0833 | 1710.6667 | 4633.0333 | 441.6833 | 619.0833 | 279.6667 | 487.85 | 136.1333 | 0.11667 | 21.8833 | 245.05 | 394.3667 | 1331.4 | 1850.2833 | 360.4 | 95.1 | 316.6833 | 799.3167 | 232.9167 | 230.7333 | 189.8167 | 407.2667 | 182.3167 | 708.3833 | 13.8 | 364.1167 | 636.45 | 126.2833 | 0 | 1.4833 | 0.13333
Write | 36.0833 | 200.45 | 169.6 | 219.0167 | 165.1167 | 185.8667 | 24.3 | 46.0333 | 592.45 | 305 | 233.4333 | 14.7667 | 54.8667 | 9.9167 | 0.93333 | 90.3 | 176.55 | 851.6833 | 185.6833 | 230.6667 | 116.65 | 8.8833 | 316.75 | 64.5833 | 87.8833 | 97.0833 | 86.0333 | 51.6833 | 26.75 | 21.3667 | 26.6833 | 50.4833 | 63.1 | 0.31667 | 7.1667 | 0.2

## Slide 39: Drive characteristics
Typical ST3146854 drive +12V LVD current profile
39
Notes: 39

## Slide 40: Drive characteristics
40
Notes: 40