## Slide 1: An oncologist’s guide to using AI for cancer therapy
Raj Jena
Innereye team | Microsoft Research | Radiation Oncologist | University of Cambridge

## Slide 2: Overview
What is radiation therapy, and where are we right now?
  AI in image reconstruction
  AI in image segmentation
  AI in response assessment
How will AI impact radiation therapy soon?
  Real-time tracking
  Adaptive radiotherapy
  Predictive radiomics
Horizon scanning in radiation therapy

## Slide 3: What is Radiotherapy
And where are we at right now?

## Slide 4: Radiation therapy (RT)
Use of ionising radiation to kill tumours
  X-rays (>100 years)
  Electrons (>80 years)
  Protons (>50 years)
  Neutrons (>40 years)
  Other hadrons (>20 years)
Main treatment in 40% of patients cured of cancer
  Effect and cost effective treatment
Cancer services collaborative, 2002

## Slide 5: How does RT work?
Damage to DNA backbone
  Single strand breaks
  Double strand breaks
Damage to tumour’s blood supply
  Endothelial injury
Activation of immune system
  Tumour neo-antigens
  Activate dendritic cells
Bernstein, Krishnan, Hodge & Chang Nature Reviews Clinical Oncology 2016

## Slide 6: RT species compared

## Slide 7: DNA Damage and Oxygen
X-rays
  Mainly single stranded DNA breaks (16:1)
  Oxygen needed to stop backbone re-annealing
  Tumours often have low oxygen levels at their core
Particles
  Mainly double stranded DNA breaks (80:1)
  Big holes in DNA cannot re-anneal
  Less dependent of availability of oxygen

## Slide 8: Time, Dose, and Fractionation
Healthy tissues (mutation=bad)
  Competent DNA repair mechanisms
  Takes 8 hours to repair ~50% of DNA damage
  Cells that cannot be repaired ‘commit suicide’ - apoptosis
Tumours (mutation=good)
  Defective DNA repair
  DNA damage sustained
  Eventually cell has so much DNA damage it falls apart – necrosis / mitotic catastrophe

## Slide 9: Little guns, Big guns
Courtesy Katia Parodi, SNAKE microbeam, LMU
Rothkamm & Lobrich PNAS 2003

## Slide 10: Relative biological effectiveness : 1Gy ≠ 1Gy
Desouky & Zhou, JTUSCI 2016

## Slide 11: RT targeting concepts
ICRU Reports 50, 62, 83
GTV – gross tumour volume
  Visible with the eye, or on a scan
  Segmented as first part of RT workflow
CTV – clinical target volume
  Microscopic tumour spread
  Inferred from scans
  Probability of finding tumour cell falls to zero at edge of CTV
PTV – planning target volume
  Motion effects
  Setup uncertainty of the machine

## Slide 12: RT targeting goals
ICRU Reports 50, 62, 83
GTV – tumour only
  Maximise cell damage
  Remove dependence on oxygen
CTV – tumour & health tissue
  Kill the tumour cells
  Shield the healthy cells
  Activate the immune system
PTV – healthy tissue
  Target accurately
  Track target motion

## Slide 13: Imaging for RT – seeing the target
CT and PET scans for lung cancer
Diagnostic imaging

## Slide 14: Imaging for RT – seeing the target
CT and MRI scans for glioblastoma
Diagnostic imaging

## Slide 15: Imaging for RT – measuring the target
Cu ATSM PET quantification of hypoxia levels in head & neck cancer
Theranostic imaging (more later)

## Slide 16: Imaging for RT – measuring the target
Quantifying infiltration of glioblastoma into surrounding brain white matter
Theranostic imaging (more later)

## Slide 17: AI applications in RT
Image reconstruction | Segmentation
Adaptive & real-time RT | RT Radiomics

## Slide 18: Imaging reconstruction
Filtered back projection (CT, PET, PET-CT)
MRI – more complex
Usually optimised for specific features
  Signal / Noise
  Artefact reduction
  Spatial distortion
  Quantification

## Slide 19: ML for joint reconstruction and processing
‘Reconstruction’ ML
‘Processing’ ML
One cost function
Joint training / parameter optimisation
Daniel Rueckert, UCL

## Slide 20: ML for Medical Image segmentation
Innereye team
Computer vision researchers
ML experts
Software development Engineers
Business development experts
UX Design experts
Medical Doctor
Microsoft Azure
InnerEye segmentation services
BrainML.Glioblastoma
BrainML.LowGradeGlioma
HeadNeckML
ThoraxML.Lungs
AbdomenML.Liver
AbdomenML.Kidneys
PelvisML.Spine
…
Medical components, paid services
PelvisML.Prostate

## Slide 21
Our “ground-truth” labelled image dataset – hundreds of patients
…
…
…
…
…
patient 2
patient 3
patient 1
axial + labels
prostate
seminal vesicles
rectum
bladder
Notes: Our algorithms do not need millions of labelled training images. We have can get away with hundreds.

## Slide 22
Input CT image
Input - probabilities @ layer 0
Deep Decision Forests for semantic segmentation - training
Output - probabilities @ layer 1
Appearance context
Semantic context

## Slide 23
Input CT image
Input - probabilities @ layer 1
Deep Decision Forests for semantic segmentation - training
Output - probabilities @ layer 2
Appearance context
Semantic context

## Slide 24
Trained Deep Decision Forest model
Forest layer 0
Input CT images
Probabilities @ layer 0
Forest layer 1
Probabilities @ layer 1
Forest layer 2
Probabilities @ layer 2
Forest layer 3
Segmentation

## Slide 25
Patient 1
Patient 2
Patient 3
Patient 4
Input CT image
@ runtime
Deep Decision Forests for semantic segmentation - runtime

## Slide 26
Patient 1
Patient 2
Patient 3
Patient 4
Probabilities @ layer 0
Input CT image
Deep Decision Forests for semantic segmentation - runtime
@ runtime

## Slide 27
Patient 1
Patient 2
Patient 3
Patient 4
Probabilities @ layer 1
Probabilities @ layer 0
Input CT image
Deep Decision Forests for semantic segmentation - runtime
@ runtime

## Slide 28
Patient 1
Patient 2
Patient 3
Patient 4
Probabilities @ layer 2
Probabilities @ layer 1
Probabilities @ layer 0
Input CT image
Deep Decision Forests for semantic segmentation - runtime
@ runtime

## Slide 29
Patient 1
Patient 2
Patient 3
Patient 4
Segmentation
Probabilities @ layer 2
Probabilities @ layer 1
Probabilities @ layer 0
Input CT image
Deep Decision Forests for semantic segmentation - runtime
@ runtime

## Slide 30
Deep Decision Forests – comparison with inter-observer variability

## Slide 31: Benchmarking tests with third party data

## Slide 32: 2018 – Continuous ML at Addenbrookes
SimCT 1
SimCT 2
Prosoma
TPS 1
TPS 2
TPS 3
Gateway

## Slide 33: ML for Adaptive radiation therapy
ART – rescan and reoptimize treatment during each day of radiotherapy
  Stay on target
  Shield healthy tissues from radiation as much as possible
Multiple timepoint segmentation
  Same problem as response assessment

## Slide 34: ML for real-time radiation therapy
Tracking and re-segmenting targets and normal tissues in real time
  Liver tumours
  Lung tumours

## Slide 35: ML for Predictive Radiomics
Predict effect to tumour
  Use multiple image channels to build predictive classifier of tumour response during treatment
Predict effect to healthy tissues
  Hamlet.rt
  Predicting toxicity of treatment from image and non-image data (normal tissue radiomics)
Courtesy of Kevin Brindle Lab

## Slide 36: Horizon Scanning
AI| Hadron therapy| Real-time tumour painting

## Slide 37: RT targeting goals
ICRU Reports 50, 62, 83
GTV – tumour only
  Maximise cell damage
  Remove dependence on oxygen
CTV – tumour & health tissue
  Kill the tumour cells
  Shield the healthy cells
  Activate the immune system
PTV – healthy tissue
  Target accurately
  Track target motion

## Slide 38: CHAMP – Compact Hybrid Accelerator MR PET
C-13 Hyp-MRI
Pyruvate
pH
ATSM PET
Oxygen
Perfusion
CINE MRI
Targeting
Motion tracking
Photon RT
Tumour CTV
Immune activation
NK cell ligand PET
Immunome imaging
Hadron dose paint
Protons
Carbon ions
Lithium?
MR Perfusion
Vascular imaging

## Slide 39: CHAMP – Science fact or science fiction?
Component technologies exist, but huge & very expensive
Needs AI to work in real-time
  Predictive radiomics
  Image processing
  Segmentation
  Plan optimisation
BELLA at LBNL accelerates an electron from 0 to 4.3 GeV in 9cm!!!
LHC – 0 to 6TeV in 17 miles

## Slide 40: Acknowledgements
Innereye Team
Antonio Criminisi
Javier Alvarez Valle
Aditya Nori
Kenji Takeda
Richard Lowe
Ivan Tarapov
Stefan Wijnen
Anton Schwaighofer
Jay Nanavati
Laurence Bourn
Addenbrooke’s
Andrew Hoole
Simon Thomas
Yvonne Rimmer
Simon Russell
Luke Hughes-Davies
Alex Martin
UCAM
Carola Schonlieb
Mihaela van der Schaar
Kevin Brindle